**TENDER DOCUMENT**

Tender Form sold to:

M/S\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Receipt No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: - \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**FOR SUPPLY OF Equipments/items FOR Department OF General surgery**

**DR. RKGMC-HAMIRPUR**

|  |  |
| --- | --- |
| LAST DATE FOR RECEIPT OF BID | UPTO 05:00 PM ON 18/08/2020 |
| BID OPENING DATE | 19/08/ 2019 AT 02:00PM |

**Additional Director (Admn.)**

**Dr. RKGMC, Hamirpur-HP**

TEL No. 01972-222999

COST OF TENDER DOCUMENT

AT COUNTER RS.250/-

BY POST RS. 300/-

**Instructions alongwith Terms and Conditions**:-

1. Tender must be enclosed in a properly sealed envelope addressed to the Principal Dr. RKGMC, Hamirpur HP. **The tender must contain both Technical as well as Financial bid in a separate envelope**. The envelope must be superscribed as **“Tenders for the supply of Equipments/ items for Department of General Surgery”** and can be submitted by post or personally in the o/o Principal, Dr. RKGMC, Hamirpur on or before **18/08/2020 upto 05:00PM**. For any query regarding tenderer may contact Principal, Dr.RKGMC, Hamirpur, HP, personally on phone No.01972-222999.
2. The each & every page of tender document should be duly signed by tenderer.
3. All the columns of tender document shall be duly, properly and exhaustively filled in. The rates shall not be overwritten and in case of correction should be duly attested by the tenderer. In case bidder is not quoting the rates for some items, the word “Not quoted” should be clearly mentioned in the particular columns and no column should remain left blank. Any omission in filling of the column of rates may result in rejection of tender straightway and will not be considered under any circumstances.
4. Samples must be produced of all items quoted in the tender document on or before opening date.
5. Earnest money for Rs. **3,000/- (Rs. Three thousand only) in the shape of DD/Banker Cheque/FDR in the name of Principal, Dr.RKGMC, Hamirpur**-HP should be enclosed with the tender.
6. The tender must be accompanied with G.S.T No, Pan Card and Sales Tax clearance certificate of taxes upto 31 March of preceding year.
7. The rates quoted should be F.O.R. destination Principal Dr. RKGMC, Hamirpur-HP
8. GST/excise duty or other charges should be indicated separately otherwise rates will be deemed to be inclusive of such taxes and no future increase will be allowed. The committee will also consider/compare the rates such items with same specification available on the Gem portal.
9. The branded products with requisite quality standard and certification will be given preference and the tenderer will have to produce authorization certificate from manufacturer or all India distributer.
10. The bidder will submit following undertakings & documents duly attached with technical bid.
11. Undertaking on firms letter head that he will not try to gratify any person of the department.
12. Undertaking on stamp paper that his firm has not been blacklisted by any HP state Govt. Deptt./Central Govt Deptt.
13. Bench price for the items supplied in any Govt. Deptt.
14. Experience to supply the quoted items to HP state Govt. Office/ Central Govt/public sector undertakings etc.
15. Undertaking to the effect that the rates quoted are as per manufacturers rates and nowhere in India supplied the items at rates less than the quoted rates.
16. All photocopies of documents attached with the tender should be duly attested from a Gazetted officer/self-attested. **The original catalogues etc., should be enclosed with bid along with the compliance sheets for each item**. The index of the bid should give description of items quoted.
17. Inspection of premises of the firm may be carried out to ensure genuineness of the firm.
18. The tender shall be opened in the presence of tenderers or their authorized representatives.
19. The tenderers who do not fulfill the above mentioned conditions their tender will be straight way rejected.
20. The financial bids of those bidders will only be opened whose technical bids recommended by technical committee. The rates should be quoted inclusive of all taxes or with GST/ other taxes duly described.
21. The contract period of the tender is one year from the date of award of tender or till the finalization of next tender. In the event of tender being accepted the tender will be converted in to a contract and will be governed by the conditions of contract. The contract will last for one year but in the event of any breach of agreement at any time on the part of contractor, the contract can be terminated summarily by the Principal, Dr. RKGMC, Hamirpur-HP or otherwise without assigning any reasons and without compensation to the contractor.
22. The contractor will supply nothing but genuine articles described in the schedule as per specifications. The articles will be of the good quality equal and answerable in every respect to the specifications given. The contractor will be answerable for all complaints as regards quality.
23. Performance security will be obtained from the successful tenderer on the award of contract @ 10% of the value of the contract, in the shape of FDR duly pledged, from a commercial Bank. The performance security shall remain valid for a period of 60 days from the date of completion of contract.
24. 100% payment will be released within 21days against physical delivery of inspected/accepted articles duly sported with satisfactory inspection note and receipt of goods in good condition by consignee’s site/destination.
25. The contractor must dispatch all the articles within 15 days of receipt of supply order.
26. The items supplied should be as per samples approved. The committee of this office will inspect all the items w.r.t specifications and quality standard as quoted in the tender.
27. Any dispute emerging from contract shall be subject to the jurisdiction of court at Hamirpur H.P. only.
28. Principal, Dr.RKGMC Hamirpur (HP) holds the right to cancel the tender at any stage without assigning any reason.

I/We hereby undertake to supply the goods/material at the quoted rates specified in the Schedule and within the time specified in the conditions of the contract. The terms and conditions given in the contract will be binding upon me/us in the event of acceptance of my/our tender.

Read and accepted

Signature of tenderer

**List of equipments required by the department of General Surgery:-**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Item Description** | |
| 1 | FORCEPS, GROSS-MAIER, CVD., 26.5 CM | |
| 2 | TOWEL FORCEPS, BACKHAUS, SHARP, 11 CM | |
| 3 | TOWEL FORCEPS F. PAPER DRAPES, 11.5 CM | |
| 4 | SCALPEL HANDLE, NO. 4, 13.5 CM | |
| 5 | SCALPEL HANDLE, NO. 3, 12 CM | |
| 6 | TC-DISS. SCISSORS, FINE, CVD., 14.5 CM | |
| 7 | TC-DISS. SCISSORS, FINE, CVD., 18 CM | |
| 8 | TC-DISS. SCISSORS, FINE, CVD., 20.5 CM | |
| 9 | TC-DISSECTING SCISSORS, CVD., 23 CM | |
| 10 | TC-DISS. SCISSORS, CVD., SERR., 18 CM | |
| 11 | TC-SCISSORS, MAYO-LEXER, CVD., 16 CM | |
| 12 | OPERATING SCISSORS, SH/BL, STR., 14.5 CM | |
| 13 | TISSUE FORCEPS, 1X2 T., SLIM, 14.5 CM | |
| 14 | TISSUE FORCEPS, 1X2 T., SLIM, 20.5 CM | |
| 15 | ATR. FORCEPS, DE BAKEY, 2 MM, 16 CM | |
| 16 | ATR. FORCEPS, DE BAKEY, 2 MM, 20 CM | |
| 17 | DRESSING FORCEPS, REES, ISOLATED, 20 CM | |
| 18 | FORCEPS, KOCHER, 1X2 T., STR., 14 CM | |
| 19 | FORCEPS, PEAN, DELICATE, STR., 14.5 CM | |
| 20 | FORCEPS, MOSQUITO, 1X2 T., CVD., 12.5 CM | |
| 21 | HAEM. FORCEPS, MOSQUITO, CVD., 12 CM | |
| 22 | HAEM. FORCEPS, MOSQUITO, STR., 18.5 CM | |
| 23 | FORCEPS, MOSQUITO, 1X2 T., STR., 18.5 CM | |
| 24 | FORCEPS, KOCHER, 1X2 T., STR., 20.5 CM | |
| 25 | FORCEPS, KOCHER, 1X2 T., STR., 24 CM | |
| 26 | FORCEPS, GROSS-MAIER, STR., 26.5 CM | |
| 27 | PERITON. FORCEPS, MIKULICZ, HEAVY, 20 CM | |
| 28 | DISS. FORCEPS, OVERHOLT, NO. 1, 20.5 CM | |
| 29 | DISS. FORCEPS, OVERHOLT, NO. 2, 20 CM | |
| 30 | DISS. FORCEPS, OVERHOLT, NO. 3, 21.5 CM | |
| 31 | DISS. FORCEPS, BABY-MIXTER, CVD., 18.5CM | |
| 32 | TC-NEEDLEHOLDER, CRILE-WOOD, 15 CM | |
| 33 | TC-NEEDLEHOLDER, MAYO-HEGAR, 20 CM | |
| 34 | TC-NEEDLEHOLDER, DE BAKEY, 18 CM | |
| 35 | RETRACTOR, ROUX, SET, NO. 1-3, 17 CM | |
| 36 | RETRACTOR, LANGENBECK, 30X11 MM, 22 CM | |
| 37 | RETRACTOR, LANGENBECK, 40X11 MM, 22 CM | |
| 38 | RETRACT., KOCHER-LANG., 55X11 MM, 21.5CM | |
| 39 | RETR., VOLKMANN, SEMISH., 4-PR., 22.5 CM | |
| 40 | RETRACTOR, DELIC., SHARP, 2-PR., 16.5 CM | |
| 41 | HOOKLET, CUSHING, 10 MM, 20.5 CM | |
| 42 | TENACULUM FORCEPS, CZERNY, 4X4 T., 21 CM | |
| 43 | ATR. TISSUE FORCEPS, ALLIS, 15.5 CM | |
| 44 | BONE CURETTE, VOLKM., OVAL, NO. 0, 17 CM | |
| 45 | GROOVED DIRECTOR, NELATON, CVD., 16 CM | |
| 46 | PROBE, BUTTON END, Ø 1.5/1.5 MM, 14.5 CM | |
| 47 | NEEDLE CASE, ROUND, PERF., F. 55-309-65 | |
| 48 | BOWL, METAL, H = 40, Ø 80 MM, 0.14 L | |
| 49 | BOWL, METAL, H = 55, Ø 128 MM, 0.35 L | |
| 50 | KIDNEY DISH, 250X140X40 MM | |
| 51 | GUIDE NEEDLE, ANG., KNIFE SHAPE, 10 CH | |
| 52 | GUIDE NEEDLE, ANG., KNIFE SHAPE, 12 CH | |
| 53 | STERILIZATION CONTAINER WITH INDICATOR- SIZE: 60X30X15 MM WITH 2 TRAYS | |
| 54 | CONTAINER MS, 60X30X16 CM, HANDLE GREY | |
| 55 | Tray DIN, 480x255x33 mm | |
| 56 | Tray DIN, 480x255x73 mm | |
| 57 | COLOR-TAG, RED | |
| 58 | CODING LABEL, WITH TEXT, WITHOUT HOLE | |
| **NOTE:-** | All the above mentioned Instruments should be Four digit European CE certified body or USFDA Approved and from the Same Manufacturer . | |
|  |  |  |
|  |  |  |
| **SUPPLEMENT FOR GALLBLADDER** | | |
| 1 | SCALPEL HANDLE, NO. 3L, LONG, 21.5 CM | |
| 2 | TC-DISSECTING SCISSORS, CVD., 26 CM | |
| 3 | DRESS. FORCEPS, ISOL., W/O CONN., 25 CM | |
| 4 | ATR. FORCEPS, DE BAKEY, 2 MM, 25 CM | |
| 5 | ATR. FORCEPS, DE BAKEY, 3.5 MM, 25 CM | |
| 6 | FORCEPS, BENGOLEA, STR., 26 CM | |
| 7 | FORCEPS, BENGOLEA, CVD., 26 CM | |
| 8 | FORCEPS, MIXTER, ANG., LONGIT., 22.5 CM | |
| 9 | FORCEPS, MIXTER, ANG., LONGIT., 26 CM | |
| 10 | TC-NEEDLEHOLDER, DE BAKEY, 26.5 CM | |
| 11 | ATR. ORGAN SEIZING FORCEPS, 25 CM | |
| 12 | RETRACTOR, FRITSCH, 45X75 MM, 25.5 CM | |
| 13 | RETRACTOR, MIKULICZ, 125X50 MM, 25 CM | |
| 14 | RETRACTOR, MIKULICZ, 160X50 MM, 25 CM | |
| 15 | ABDOM. SPATULA, HABERER, 37/45 MM, 30 CM | |
| 16 | TC-SCISSORS, DE BAKEY, 45°, 23 CM | |
| 17 | VASCULAR SCISSORS, 45°, 16.5 CM | |
| 18 | BILE DUCT DILATOR, BAKES, 3 MM, 32 CM | |
| 19 | BILE DUCT DILATOR, BAKES, 4 MM, 32 CM | |
| 20 | BILE DUCT DILATOR, BAKES, 5 MM, 32 CM | |
| 21 | BILE DUCT DILATOR, BAKES, 6 MM, 32 CM | |
| 22 | BILE DUCT DILATOR, BAKES, 7 MM, 32 CM | |
| 23 | BILE DUCT DILATOR, BAKES, 8 MM, 32 CM | |
| 24 | BILE DUCT DILATOR, BAKES, 9 MM, 32 CM | |
| 25 | BILE DUCT DILATOR, BAKES, 10 MM, 32 CM | |
| 26 | GALLSTONE SCOOP, NO. 00, 3.4 MM, 32 CM | |
| 27 | GALLSTONE SCOOP, NO. 0, 4.3 MM, 32 CM | |
| 28 | GALLSTONE SCOOP, NO. 1, 5.5 MM, 32 CM | |
| 29 | GALLSTONE SCOOP, NO. 2, 6.6 MM, 32 CM | |
| 30 | GALLSTONE SCOOP, NO. 3, 8.0 MM, 32 CM | |
| 31 | GALLSTONE SCOOP, NO. 4, 11 MM, 32 CM | |
| 32 | GALLSTONE FORCEPS, DESJARDINS, NO. 1 | |
| 33 | GALLSTONE FORCEPS, DESJARDINS, NO. 2 | |
| 34 | GALLSTONE FORCEPS, DESJARDINS, NO. 3 | |
| 35 | STERILIZATION CNTAINER WITH INDICATOR- SIZE: 60X30X13 MM | |
| 36 | CONTAINER MS, 60X30X14 CM, HANDLE GREY | |
| 37 | Tray DIN, 480x255x73 mm | |
| 38 | COLOR-TAG, RED | |
| 39 | CODING LABEL, WITH TEXT, WITHOUT HOLE | |
| NOTE:- | All the Mention Instruments should be Four digit Europeon CE satisfied body or USFDA Approved and from the Same Manufacturer | |
|  |  |  |
|  | **SUPPLEMENT, GASTRO INTESTINAL** |  |
|  |  |
| 1 | SCALPEL HANDLE, NO. 3L, LONG, 21.5 CM | |
| 2 | SCALPEL HANDLE, NO. 4L, LONG, 20.5 CM | |
| 3 | TC-DISSECTING SCISSORS, CVD., 26 CM | |
| 4 | TC-DISS. SCISSORS, FINE, CVD., 28.5 CM | |
| 5 | TC-SCISSORS, MAYO-STILLE, STR., 17 CM | |
| 6 | DRESS. FORCEPS, ISOL., W/O CONN., 25 CM | |
| 7 | ATR. FORCEPS, DE BAKEY, 2 MM, 25 CM | |
| 8 | ATR. FORCEPS, DE BAKEY, 3.5 MM, 25 CM | |
| 9 | ATR. FORCEPS, DE BAKEY, 3.5 MM, 30 CM | |
| 10 | TC-NEEDLEHOLDER, DE BAKEY, 26.5 CM | |
| 11 | TC-NEEDLEHOLDER, DE BAKEY, 31 CM | |
| 12 | TC-NEEDLEHOLDER, MAYO-HEGAR, 30 CM | |
| 13 | RETRACTOR, FRITSCH, 45X75 MM, 25.5 CM | |
| 14 | RETRACTOR, MIKULICZ, 125X50 MM, 25 CM | |
| 15 | RETRACTOR, MIKULICZ, 160X50 MM, 25 CM | |
| 16 | ABDOM. SPATULA, HABERER, 37/45 MM, 30 CM | |
| 17 | FORCEPS, KOCHER, 1X2 T., STR., 26 CM | |
| 18 | FORCEPS, BENGOLEA, STR., 26 CM | |
| 19 | ATR. ORGAN SEIZING FORCEPS, 25 CM | |
| 20 | ATR. TISSUE FORCEPS, ALLIS, 20 CM | |
| 21 | ATR. TISSUE FORCEPS, ALLIS, 24.5 CM | |
| 22 | ATR. KIDNEY PEDI. FORCEPS, GUYON, 23 CM | |
| 23 | ATR. BRONC. FCPS., LEES, CVD/ANG., 26 CM | |
| 24 | ATR. INTEST. FCPS., KOCHER, CVD., 25 CM | |
| 25 | ATR. INTEST. FCPS., KOCHER, STR., 25 CM | |
| 26 | DISS. FORCEPS, ZENKER, SL. CVD., 29.5 CM | |
| 27 | DISS. FORCEPS, ZENKER, ST. CVD., 28.5 CM | |
| 28 | DISS. FORCEPS, OVERHOLT, NO. 4, 28 CM | |
| 29 | GROOVED DIRECT., BRUNNER, PLASTIC, 18 CM | |
| 30 | STERILIZATION CONTAINER WITH INDICATOR- SIZE: 60X30X13 MM | |
| 31 | CONTAINER MS, 60X30X14 CM, HANDLE GREY | |
| 32 | Tray DIN, 480x255x73 mm | |
| 33 | COLOR-TAG, RED | |
| 34 | CODING LABEL, WITH TEXT, WITHOUT HOLE | |
| Note:- | All the Mention Instruments should be Four digit European CE satisfied body or USFDA Approved and from the Same Manufacturer | |
|  |  |  |
|  | **SUPPLEMENT SPLEEN/LIVER** |  |
|  |  |
| 1 | TISSUE FORCEPS, ALLIS, 5X6 T., 19 CM | |
| 2 | TISSUE FORCEPS, BABCOCK, 24 CM | |
| 3 | INTESTINAL FORCEPS, DOYEN, STR., 23.5 CM | |
| 4 | DRESSING FORCEPS, MEDIUM WIDE, 20 CM | |
| 5 | SCISSORS, MAYO-HARRINGTON, CVD., 23 CM | |
| 6 | SCISSORS, MAYO-HARRINGTON, STR., 23 CM | |
| 7 | TC-NEEDLEHOLDER, MAYO-HEGAR, 24 CM | |
| 8 | DISSECT. FORCEPS, MIXTER, CVD., 22.5 CM | |
| 9 | DISS. FORCEPS, MIXTER, ANG., 17.5 CM | |
| 10 | HAEMOSTATIC FORCEPS, PEAN, CRV., 20 CM | |
| 11 | TISSUE FORCEPS, 1X2 T., SLIM, 20.5 CM | |
| 12 | CLAMP FORCEPS, MOYNIHAN, CVD., 23 CM | |
| 13 | TC-DISS. SCISSORS, FINE, CVD., 18 CM | |
| 14 | SCISSORS, ANGLED 40°, 18.5 CM | |
| 15 | ATR. FORCEPS, PEAN, STR., 18.5 CM | |
| 16 | ATR. FORCEPS, PEAN, STR., 20.5 CM | |
| 17 | ATR. FORCEPS, POTTS, STR., 23.5 CM | |
| 18 | BULLDOG CLAMP, DE BAKEY, STR., 7.5 CM | |
| 19 | BULLDOG CLAMP, DE BAKEY, STR., 8.5 CM | |
| 20 | BULLDOG CLAMP, DE BAKEY, STR., 10 CM | |
| 21 | ATR. TANGENTIAL FORCEPS, SATINSKY, 22 CM | |
| 22 | ATR. TANGENTIAL FORCEPS, SATINSKY, 26 CM | |
| 23 | ATR. FORCEPS, DE BAKEY, ANG., 20 CM | |
| 24 | ATR. FORCEPS, OCHSNER, CVD., 22 CM | |
| 25 | ATR. FORCEPS, DE BAKEY, 2 MM, 25 CM | |
| 26 | ATR. FORCEPS, DE BAKEY, 2 MM, 20 CM | |
| 27 | APPLYING FORCEPS F. BULLD. CLAMPS, 24 CM | |
| 28 | STERILIZATION CONTAINER WITH INDICATOR- SIZE: 60X30X13 MM | |
| 29 | CONTAINER MS, 60X30X14 CM, HANDLE GREY | |
| 30 | Tray DIN, 480x255x73 mm | |
| 31 | COLOR-TAG, RED | |
| 32 | CODING LABEL, WITH TEXT, WITHOUT HOLE | |
| NOTE:- | All the Mention Instruments should be Four digit European CE satisfied body or USFDA Approved and from the Same Manufacturer | |
|  |  | |
|  | **LAPAROTOMY SET** |  |
|  |  |
| 1 | SCALPEL HANDLE, NO. 4, 13.5 CM | |
| 2 | FORCEPS, GROSS-MAIER, CVD., 26.5 CM | |
| 3 | TOWEL FORCEPS, BACKHAUS, SHARP, 11 CM | |
| 4 | TOWEL FORCEPS F. PAPER DRAPES, 11.5 CM | |
| 5 | SCALPEL HANDLE, NO. 4L, LONG, 20.5 CM | |
| 6 | SCALPEL HANDLE, NO. 3, 12 CM | |
| 7 | TC-DISS. SCISSORS, FINE, CVD., 14.5 CM | |
| 8 | TC-DISS. SCISSORS, FINE, CVD., 18 CM | |
| 9 | TC-DISS. SCISSORS, FINE, CVD., 20.5 CM | |
| 10 | TC-DISSECTING SCISSORS, CVD., 23 CM | |
| 11 | TC-DISSECTING SCISSORS, CVD., 26 CM | |
| 12 | TC-DISS. SCISSORS, FINE, CVD., 28.5 CM | |
| 13 | TC-DISS. SCISSORS, CVD., SERR., 18 CM | |
| 14 | TC-DISS. SCISSORS, CVD., SERR., 23 CM | |
| 15 | TC-SCISSORS, MAYO-LEXER, CVD., 16 CM | |
| 16 | OPERATING SCISSORS, SH/BL, STR., 14.5 CM | |
| 17 | TISSUE FORCEPS, 1X2 T., SLIM, 14.5 CM | |
| 18 | TISSUE FORCEPS, 1X2 T., SLIM, 20.5 CM | |
| 19 | TISSUE FORCEPS, 1X2 T., SLIM, 25 CM | |
| 20 | ATR. FORCEPS, DE BAKEY, 2 MM, 16 CM | |
| 21 | ATR. FORCEPS, DE BAKEY, 2 MM, 20 CM | |
| 22 | ATR. FORCEPS, DE BAKEY, 2 MM, 25 CM | |
| 23 | DRESS. FORCEPS, ISOL., W/O CONN., 21 CM | |
| 24 | FORCEPS, KOCHER, 1X2 T., STR., 14 CM | |
| 25 | FORCEPS, PEAN, DELICATE, STR., 14.5 CM | |
| 26 | FORCEPS, MOSQUITO, 1X2 T., CVD., 12.5 CM | |
| 27 | HAEM. FORCEPS, MOSQUITO, CVD., 12 CM | |
| 28 | HAEM. FORCEPS, MOSQUITO, STR., 18.5 CM | |
| 29 | FORCEPS, MOSQUITO, 1X2 T., STR., 18.5 CM | |
| 30 | FORCEPS, KOCHER, 1X2 T., STR., 20.5 CM | |
| 31 | FORCEPS, KOCHER, 1X2 T., STR., 24 CM | |
| 32 | FORCEPS, GROSS-MAIER, STR., 26.5 CM | |
| 33 | PERITON. FORCEPS, MIKULICZ, HEAVY, 20 CM | |
| 34 | DISS. FORCEPS, OVERHOLT, NO. 4, 22 CM | |
| 35 | FORCEPS, OVERHOLT, FINE, CVD., 29.5 CM | |
| 36 | DISS. FORCEPS, OVERHOLT, NO. 3, 27.5 CM | |
| 37 | FORCEPS, MIXTER, ANG., LONGIT., 22.5 CM | |
| 38 | TC-NEEDLEHOLDER, CRILE-WOOD, 15 CM | |
| 39 | TC-NEEDLEHOLDER, MAYO-HEGAR, 20 CM | |
| 40 | TC-NEEDLEHOLDER, MASSON, 26.5 CM | |
| 41 | TC-NEEDLEHOLDER, DE BAKEY, 18 CM | |
| 42 | TC-NEEDLEHOLDER, DE BAKEY, 26.5 CM | |
| 43 | RETRACTOR, ROUX, SET, NO. 1-3, 17 CM | |
| 44 | RETRACTOR, LANGENBECK, 30X11 MM, 22 CM | |
| 45 | RETRACTOR, LANGENBECK, 40X11 MM, 22 CM | |
| 46 | RETRACT., KOCHER-LANG., 55X11 MM, 21.5CM | |
| 47 | RETR., VOLKMANN, SEMISH., 4-PR., 22.5 CM | |
| 48 | RETRACTOR, FRITSCH, 45X75 MM, 25.5 CM | |
| 49 | RETRACTOR, MIKULICZ, 125X50 MM, 25 CM | |
| 50 | RETRACTOR, MIKULICZ, 160X50 MM, 25 CM | |
| 51 | ABDOM. SPATULA, HABERER, 37/45 MM, 30 CM | |
| 52 | ATR. ORGAN SEIZING FORCEPS, 25 CM | |
| 53 | ATR. TISSUE FORCEPS, ALLIS, 24.5 CM | |
| 54 | BONE CURETTE, VOLKM., OVAL, NO. 0, 17 CM | |
| 55 | GROOVED DIRECTOR, NELATON, CVD., 16 CM | |
| 56 | PROBE, BUTTON END, Ø 1.5/1.5 MM, 20 CM | |
| 57 | NEEDLE CASE, ROUND, PERF., F. 55-309-65 | |
| 58 | BOWL, METAL, H = 40, Ø 80 MM, 0.14 L | |
| 59 | BOWL, METAL, H = 55, Ø 128 MM, 0.35 L | |
| 60 | KIDNEY DISH, 250X140X40 MM | |
| 61 | GUIDE NEEDLE, ANG., KNIFE SHAPE, 10 CH | |
| 62 | GUIDE NEEDLE, ANG., KNIFE SHAPE, 12 CH | |
| 63 | STERILIZATION CONTAINER WITH INDICATOR- SIZE: 60X30X15 MM WITH 2 TRAYS | |
| 64 | CONTAINER MS, 60X30X16 CM, HANDLE GREY | |
| 65 | Tray DIN, 480x255x33 mm | |
| 66 | Tray DIN, 480x255x73 mm | |
| 67 | COLOR-TAG, RED | |
| 68 | CODING LABEL, WITH TEXT, WITHOUT HOLE | |
| NOTE:- | All the Mention Instruments should be Four digit European CE satisfied body or USFDA Approved and from the Same Manufacturer | |

**GENERAL TERMS AND CONDITION OF INSTRUMENTS**

All instruments should adhere to following steel Composition:

1. All the instrument should be made of high grade stainless steel. The quality of steel should comply with the DIN standards.

2. All the Mention Instruments should be Four digit European CE satisfied body or USFDA Approved and from the Same Manufacturer

3. It should be of high quality and prescision.

4. It should be light weight, strong and durable

5. It should be non-magnetic.

6. All instruments should be Autoclavable

7. All instruments should be supplied from single manufacturer Set wise

8. The manufacturer should have a direct repair facility available in India.

9. All instruments should be Autoclavable at 134deg.

10. Instrument should meet the international certification as per DIN EN ISO 13845:2001

11. It should have TUV certificate of manufacturer with details of manufacturing facility.

12. The instrument should have bar coding for individual tracking of the instruments.

|  |  |
| --- | --- |
|  |  |

**Note:- During the warranty period of 3 years the Company Engineer will visit the Department for service without waiting for any complain and in case of complaint, the Engineer will attend the equipment within 48 hours without fail otherwise penalty @ Rs. 1000/- per day will be imposed by deducting the amount from performance security.**

**Annexure-A**

**CHECK List duly filled in to be attached with the Technical Bid**

|  |  |  |
| --- | --- | --- |
| **Sr. No** | **Particulars** |  |
|  | Undertaking for Non gratification | Yes/No |
|  | Non-blacklisting certificate on stamp paper | Yes/No |
|  | Undertaking on letter head pad to the effect that rates quoted are as per manufacturer rates and items nowhere supplied less than quoted rates | Yes/No |
|  | Whether a list of institution/organizations where your firm has supplied this item recently, is attached alongwith satisfactory performance certificate from those institution/ organizations. | Yes/No |
|  | Certificate of having satisfactory service arrangement and fully  trained staff as per clause | Yes/No |
|  | In case you are manufacturer, have you enclosed the certificate | Yes/No |
|  | Whether the prices has been quoted on the prescribed proforma. | Yes/No |
|  | Whether all the undertakings as required in the tender  document are enclosed | Yes/No |
|  | Whether EMD as asked has been attached | Yes/No |
|  | Whether Tender Document duly signed by the authorized signatory attached | Yes/No |
|  | Whether the technical specification/original catalogues of the material are Attached. | Yes/No |

Authorized Signatory:

Name of the firm/bidder:

**Annexure -B**

**To be enclosed with Techno-Commercial Bid**

BIDDER PARTICULARS

Bidder Serial Number Allotted on Tender Document: \_\_\_\_\_\_\_\_\_\_\_

1. Name of the Bidder :

2. Address of the Bidder :

3. Name of the Manufacturer (s) :

4. Address(es) of the Manufacturer :

5. Name and address of the person :

To whom all references shall be made regarding this tender inquiry.

Telephone :

Telex :

Fax :

e-mail address :

Witness :

Signature

Name

Address

Designation

Company

Date

Company Seal

**ANNEXURE-C**

**PRICE BID PROFORMA**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | Name of item | Qty. | Cost of item | Taxes/Duties (GST & other) | | Total |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

**It is certified that the cost of items shown above, has included all taxes/duties etc. and nothing above shall be charged over and above this cost.**